{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Ausstosszeiten"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":0,"defined_names":10,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Ausstosszeiten","index":0,"n_rows":18,"n_cols":17,"rows_kept":18,"cut":false,"hidden":false,"merged":[[11,15,11,16],[12,15,12,16],[13,15,13,16],[11,0,11,1],[11,2,11,4],[2,11,2,14],[2,6,2,9],[11,6,11,8],[11,12,11,13]]}
[]
[" Belastungswerte der Apparate ( LU = )",null,null,null,null,null,null," Wasserinhalte der Rohre ( VRohr = )"]
[null,null,"Apparate",null,null,null,"PEX - Rohre",null,null,null,null,"Chromstahlrohr",null,null,null,"Ausstosszeit"]
[null,null,null,"LU","[l/s]",null,null,"Dim.","[l/m]",null,null,null,"Dim.","[l/m]",null,"[s]","erlaubt"]
[null,"Waschtisch","Wt",1,{"$f":"D5/10","v":0.1},null,null,12,0.05,null,null,null,null,null,null,15,"385/1"]
[null,"Küche","Kü",2,{"$f":"D6/10","v":0.2},null,null,16,0.1,null,null,null,15,0.13300000000000001]
[null,"Dusche","Du",3,{"$f":"D7/10","v":0.3},null,null,20,0.16,null,null,null,18,0.20100000000000001]
[null,"Badewanne","Bw",4,{"$f":"D8/10","v":0.4},null,null,25,0.25,null,null,null,22,0.30199999999999999]
[]
[]
["Ausstosszeiten für Warmwasserapparate ( t = )"]
["Objekt",null,"Apparat",null,null,null,"Pexleitungen",null,null,null,null,null,"Verteiler",null,null,"Ausstosszeit"]
["Haus",null,"App.","Wert","Ausfl.",null,"Länge","Dim","t1",2,null,"Länge","Dim","t3",2,"Zeit"]
["[Nr.]",null,null,"[LU]","[l/s]",null,"[m]","DN","[s]","[s]",null,"[m]","DN","[s]","[s]","[s]"]
["A","Küche","Wt",{"$f":"IF(C15=\"\",\"\",IF(C15=\"wt\",$D$5,IF(C15=\"kü\",$D$6,IF(C15=\"du\",$D$7,$D$8))))","v":1},{"$f":"IF(D15=\"\",\"\",IF(D15=$D$5,$E$5,IF(D15=$D$6,$E$6,IF(D15=$D$7,$E$7,IF(D15=$D$8,$E$8)))))","v":0.1},60,{"$f":"F15/10-0.1","v":5.9},16,{"$f":"IF(C15=\"\",\"\",IF(H15=$H$5,$I$5*G15,IF(H15=$H$6,$I$6*G15,IF(H15=$H$7,$I$7*G15,IF(H15=$H$8,$I$8*G15))))/E15)","v":5.9},{"$f":"IF(I15=\"\",\"\",I15*$J$13)","v":11.8},6,{"$f":"K15/10-0.1","v":0.5},22,{"$f":"IF(C15=\"\",\"\",IF(M15=$M$6,$N$6*L15,IF(M15=$M$7,$N$7*L15,IF(M15=$M$8,$N$8*L15)))/E15)","v":1.5099999999999998},{"$f":"IF(N15=\"\",\"\",N15*$O$13)","v":3.0199999999999996},{"$f":"IF(C15=\"\",0,J15+O15)","v":14.82},"s"]
[null,"Bad","Kü",{"$f":"IF(C16=\"\",\"\",IF(C16=\"wt\",$D$5,IF(C16=\"kü\",$D$6,IF(C16=\"du\",$D$7,$D$8))))","v":2},{"$f":"IF(D16=\"\",\"\",IF(D16=$D$5,$E$5,IF(D16=$D$6,$E$6,IF(D16=$D$7,$E$7,IF(D16=$D$8,$E$8)))))","v":0.2},135,{"$f":"F16/10-0.1","v":13.4},16,{"$f":"IF(C16=\"\",\"\",IF(H16=$H$5,$I$5*G16,IF(H16=$H$6,$I$6*G16,IF(H16=$H$7,$I$7*G16,IF(H16=$H$8,$I$8*G16))))/E16)","v":6.7},{"$f":"IF(I16=\"\",\"\",I16*$J$13)","v":13.4},null,{"$f":"L15","v":0.5},22,{"$f":"IF(C16=\"\",\"\",IF(M16=$M$6,$N$6*L16,IF(M16=$M$7,$N$7*L16,IF(M16=$M$8,$N$8*L16)))/E16)","v":0.75499999999999989},{"$f":"IF(N16=\"\",\"\",N16*$O$13)","v":1.5099999999999998},{"$f":"IF(C16=\"\",0,J16+O16)","v":14.91},"s"]
[null,"Bad","Du",{"$f":"IF(C17=\"\",\"\",IF(C17=\"wt\",$D$5,IF(C17=\"kü\",$D$6,IF(C17=\"du\",$D$7,$D$8))))","v":3},{"$f":"IF(D17=\"\",\"\",IF(D17=$D$5,$E$5,IF(D17=$D$6,$E$6,IF(D17=$D$7,$E$7,IF(D17=$D$8,$E$8)))))","v":0.3},131,13,20,{"$f":"IF(C17=\"\",\"\",IF(H17=$H$5,$I$5*G17,IF(H17=$H$6,$I$6*G17,IF(H17=$H$7,$I$7*G17,IF(H17=$H$8,$I$8*G17))))/E17)","v":6.9333333333333336},{"$f":"IF(I17=\"\",\"\",I17*$J$13)","v":13.866666666666667},null,0.5,22,{"$f":"IF(C17=\"\",\"\",IF(M17=$M$6,$N$6*L17,IF(M17=$M$7,$N$7*L17,IF(M17=$M$8,$N$8*L17)))/E17)","v":0.5033333333333333},{"$f":"IF(N17=\"\",\"\",N17*$O$13)","v":1.0066666666666666},{"$f":"IF(C17=\"\",0,J17+O17)","v":14.873333333333333},"s"]
[null,"Bad","Bw",{"$f":"IF(C18=\"\",\"\",IF(C18=\"wt\",$D$5,IF(C18=\"kü\",$D$6,IF(C18=\"du\",$D$7,$D$8))))","v":4},{"$f":"IF(D18=\"\",\"\",IF(D18=$D$5,$E$5,IF(D18=$D$6,$E$6,IF(D18=$D$7,$E$7,IF(D18=$D$8,$E$8)))))","v":0.4},179,17.799999999999997,20,{"$f":"IF(C18=\"\",\"\",IF(H18=$H$5,$I$5*G18,IF(H18=$H$6,$I$6*G18,IF(H18=$H$7,$I$7*G18,IF(H18=$H$8,$I$8*G18))))/E18)","v":7.1199999999999983},{"$f":"IF(I18=\"\",\"\",I18*$J$13)","v":14.239999999999997},null,0.5,22,{"$f":"IF(C18=\"\",\"\",IF(M18=$M$6,$N$6*L18,IF(M18=$M$7,$N$7*L18,IF(M18=$M$8,$N$8*L18)))/E18)","v":0.37749999999999995},{"$f":"IF(N18=\"\",\"\",N18*$O$13)","v":0.75499999999999989},{"$f":"IF(C18=\"\",0,J18+O18)","v":14.994999999999997},"s"]